Тест

Задание #1

Вопрос:

Specify for what tubular needles for X-ray research are used:

Выберите один из 5 вариантов ответа:

1) For manipulations without penetrating into body tissues

2) For puncture of tissues followed by introduction or removing of tissue particles or fluids for diagnostic studies

3) For introduction of contrast agents into vessels or body cavities

4) For continuous infusion of liquids and blood withdrawing

5) For introducing of liquids under skin, into muscles or veins

Задание #2

Вопрос:

Specify, for what auxiliary tubular needles are used:

Выберите один из 5 вариантов ответа:

1) For manipulations without penetrating into body tissues

2) For introducing of liquids under skin, into muscles or veins

3) For continuous infusion of liquids and blood withdrawing

4) For introduction of contrast agents into vessels or body cavities

5) For puncture of tissues followed by introduction or removing of tissue particles or fluids for diagnostic studies

Задание #3

Вопрос:

Specify advantages of pre-filling syringes

1) Ease of use
2) High volume
3) Exact dose of the drug
4) Reduction of the probability of contamination
5) Low volume of medicine

Задание #4

Вопрос:

Choose the main advantages concerning Vacuum system for blood sampling

1) maximal safety of medical staff during the procedure of blood sampling;

2) transparence of syringe cylinder, wetted with water in order to provide visibility of medicines

3) possibility of blood sampling in two or more test–tubes for a short while without repeated injection of needle into a vein

4) moving of piston along the cylinder has to be without jams and jerks

5) fastness of  blood sampling  (5 -10 seconds)

Задание #5

Вопрос:

Technical requirements to single-use syringes include:

1) transparence of syringe cylinder, wetted with water in order to provide visibility of medicines

2) maximal safety of medical staff during the procedure of blood sampling
3) tightness of connection of glass cylinder with a tip and of piston with a cylinder

4) possibility of blood sampling in two or more test–tubes for a short while without repeated injection of needle into a vein
5 moving of piston along the cylinder has to be without jams and jerks

6) distinctness and resistance against erasing of marks and digits

Задание #6

Вопрос:

"By construction " disposable syringes are divided into:

1) componentless
2) two-component
3) five-component
4) three-component
5) one-component

Задание #7

Вопрос:

Specify the structure of Vacuum system for blood sampling

1) Vacuum Test tube
2) Test tube

3) Insulin needle
4) Needle for venipuncture
5) Needle holder containing flask

Задание #8

Вопрос:

Behind the « By type of fixation of needle» the syringes are divided into:

1Joint of type «Luer»
2) Joint of type «Luer-Lock» »
3) Integral (non-removable) needle
4) Connector type «Record»
5) Connector of type «Louer Record»
6) Non-integrated (replaceable) needle

Задание #9

Вопрос:

When is a syringe of type Amber used

1) for the introduction of photosensitive drugs
2) for the introduction of insulin
3) for vitamin administration
4) for injection of antihistamines

Задание #10

Вопрос:

Specify how syringes are classified depending on By location of cone tip

1) Eccentric type

2) Peripheral type

3) Сoncentric type

4) Lateral type

Задание #11

Вопрос:

Define the classification of single-use syringes behind the «By capacity of cylinder»

1) small

2) standard

3) medium

4) large

5) hyper--large

6) minimum

7) maximum

Задание #12

Вопрос:

Which include Instruments for injections, infusions and transfusions ?

1) medical injective syringes

2) tubular needles

3) infusion and transfusion devices

4) injector without needles

6) surgical needles,

7) scalpel,

Задание #13

Select the main elements of the syringe pen (insulin)

1) Pen cap

2) Tubular needles

3) Colored strip

4) Cylindrical body and carpula with insulin

6) Needle cap

7)Rubber seal

8)Protection of needle

9) Cap with color code

Задание #14

Choose the basic labeling elements of single-use syringes

1)trade mark

2)needle number

3)registration number of description of contents including nominal capacity of 4)syringes and type of tip medical product

5)needle deflection

6)date of manufacture

7)batch-number

8)needle tip shape

9)bar code

Задание #15

Indicate temperature and Relative moisture of air in facility for storage of single-use syringes

1) 15 - 25 °С

2)17-20 °С

)12-15 °С

4)no more than 65 %.

5)no more than 45 %.

6)no more than 35 %.